Safety and Health Services

## Laboratory inspection form

## About this form.

Full laboratory inspections should take place annually or every six months for high hazard areas with intermediate regular inspections by laboratory staff taking place in each laboratory. This inspection form could be used for a full inspection and as guidance for other inspections. It has been divided into several sections: a general section applicable to all facilities; and optional sections that address particular types of hazards that might be present in a laboratory. The inspection team should decide which of the optional sections are applicable before each inspection or audit takes place.  Therefore, although the form appears long it may not always be necessary to complete all sections. The form is also suitable for SSAs to issue to laboratory supervisors or managers for a self assessment type inspection.

Completed inspection forms with updated actions should be retained (either in each laboratory or collated by the SSA) for at least 3 years and be available for inspection by Health and Safety Office advisors during routine inspections or health and safety audits. Forms may also be required as evidence to give to external regulators or insurance inspectors.

Laboratory inspection form

| School |  |
| --- | --- |
| Building |  |
| Laboratory i.d. |  |
| Completed by |  |
| Date |  |

## General inspection section

| Requirement | Response |  |  | Actions and notes | Date actions completed |
| --- | --- | --- | --- | --- | --- |
|  | Yes | No | N/A |  |  |
| ## A. General policy and administration |  |  |  |  |  |
| - Responsible person allocated and identified in laboratory rules? | Yes | No | N/A |  |  |
| - Laboratory rules/code of practice appropriate to the type of laboratory displayed or available and a record of personnel having read them? | Yes | No | N/A |  |  |
| - Risk assessments available that have been reviewed within 12 months, with a completed sign-sheet (or equivalent). These should cover all hazardous activities (incl. chemical, biological, radiation hazards)? | Yes | No | N/A |  |  |
| - Induction and training records for staff and students? | Yes | No | N/A |  |  |
| - Training and supervision assessed and provided to match an individual’s level of skills and experience (recorded anywhere)? | Yes | No | N/A |  |  |
| - Records of previous inspections with actions completed? | Yes | No | N/A |  |  |
| - Specified toxins and pathogens in use have been notified to the SSA (and University BSO) and all workers are aware of this requirement of the Anti-terrorism, Crime and Security Act? | Yes | No | N/A | Specified list is on the HSO web biosafety section. |  |
| - CWC Schedule 2 substances and drug precursor category 1 and 2 substances have been notified to SSA and University Chemical Safety Advisor? | Yes | No | N/A | Contact Chemical Safety Advisor for advice on what is covered |  |
| ## B. General workplace safety |  |  |  |  |  |
| - Emergency equipment unobstructed and in good condition: |  |  |  |  |  |
| - Eyewash station/bottles (clean/flushed/in-date?), showers (clean/flushed), with signage? | Yes | No | N/A |  |  |
| - Fire extinguishers (also serviced within last 12 months), with signage? | Yes | No | N/A |  |  |
| - Residual current devices (also tested periodically)? | Yes | No | N/A |  |  |
| - Alarm activation points, smoke detectors (also alarm point signage)? | Yes | No | N/A |  |  |
| - Housekeeping: |  |  |  |  |  |
| - Excess combustible materials removed? | Yes | No | N/A |  |  |
| - Benches/shelves/surfaces: clean, tidy, organised, good condition? | Yes | No | N/A |  |  |
| - Floors and coving: clean, tidy, good condition? | Yes | No | N/A |  |  |
| - Traffic routes and exits unobstructed? | Yes | No | N/A |  |  |
| - Stored materials: stable - no fall/spill hazards? | Yes | No | N/A |  |  |
| - Storage areas: available, managed and with no trip or fire hazards? | Yes | No | N/A |  |  |
| - Self-closing doors not held open (unless magnetic auto-release holders) | Yes | No | N/A |  |  |
| - Equipment: |  |  |  |  |  |
| - Bunsen burner hoses suitable and in good condition? | Yes | No | N/A |  |  |
| - All heating equipment is in working order and not left unattended while in use? | Yes | No | N/A |  |  |
| - Electrophoresis equipment designed for purpose, good condition, matched power supply with shrouded electrodes? | Yes | No | N/A |  |  |
| - All portable electrical items tested in accordance with local testing schedule and labelled? | Yes | No | N/A |  |  |
| - Pressure vessels are labelled with safe working pressure and notified to Insurance Officer (Secretary’s Office) as required? | Yes | No | N/A |  |  |
| - Centrifuges are clean inside and have working interlocking lids? | Yes | No | N/A |  |  |
| - System in place to control apparatus or experiments running out of hours? | Yes | No | N/A |  |  |
| - Procedure in place for decontamination of equipment prior to testing, maintenance, repair, recycling or disposal? | Yes | No | N/A |  |  |
| - Hand washing sink with soap and paper towels available near laboratory exit? | Yes | No | N/A |  |  |
| - Outdoor clothing and non-essential personal items removed and stored away from the laboratory area? | Yes | No | N/A |  |  |
| - Evidence of eating, drinking, or food storage in laboratory | Yes | No | N/A |  |  |
| - Hazardous and non-hazardous wastes segregated, stored and labelled appropriately and removed (no build-up); procedures in place for decontamination? | Yes | No | N/A |  |  |
| - Personal Protective Equipment provision and use: |  |  |  |  |  |
| - Laboratory coat stored at hazard area entrance/exit? | Yes | No | N/A |  |  |
| - Laboratory coats used and laundered frequently? | Yes | No | N/A |  |  |
| - Gloves in use are of appropriate material and resistance (by risk assessment) for person and type of work? | Yes | No | N/A |  |  |
| - PPE being removed for ‘public’, office and rest areas (one gloved hand may be accepted in through routes as locally approved policy – add to notes)? | Yes | No | N/A |  |  |
| - Specialist gloves (cold or heat resistant) readily available and good condition? | Yes | No | N/A |  |  |
| - Respiratory protection provided (by risk assessment) and face fit testing recorded? | Yes | No | N/A |  |  |
| - Suitable eye protection available and worn where required to control risk? | Yes | No | N/A |  |  |
| - Non-disposable PPE has been inspected before use; maintenance and testing has been recorded? | Yes | No | N/A |  |  |

## Chemical safety inspection section

| Requirement | Response |  |  | Actions and notes | Date actions completed |
| --- | --- | --- | --- | --- | --- |
|  | Yes | No | N/A |  |  |
| - Risk assessments cover handling, use, storage and disposal of chemicals and by-products that are task related? | Yes | No | N/A |  |  |
| - Chemical storage: |  |  |  |  |  |
| - Closed containers in good condition, labelled with contents and hazard warning labels? | Yes | No | N/A |  |  |
| - Access to chemicals is restricted according to level of risk (including security)? | Yes | No | N/A |  |  |
| - Use and disposal of carcinogens, drugs etc has been logged? | Yes | No | N/A |  |  |
| - Incompatible chemicals have been segregated (e.g. mineral acids and organic solvents, oxidisers and flammables)? | Yes | No | N/A |  |  |
| - Acids and alkalis are segregated? | Yes | No | N/A |  |  |
| - Nitric acid (strong oxidising agent) segregated from organic acids (explosion hazard)? | Yes | No | N/A |  |  |
| - Flammable stored in zoned areas for controlling explosive atmosphere risk (ignition sources controlled, ‘EX’ signage at entry etc.)? | Yes | No | N/A |  |  |
| - Flammable liquids are stored in suitable cabinets, free of combustible materials and, if refrigerated, are in spark-free (intrinsically safe) equipment? | Yes | No | N/A |  |  |
| - Flammable liquids (minimum needed) stored in closed containers in a suitably placed cabinet, cupboard, or bin, which is fire resistant and designed to retain spills. Max vols.: 50L for extremely, highly flammable and those flammable liquids with a flashpoint below the maximum ambient temperature of the lab area; 250 litres for other flammable liquids with a higher flashpoint of up to 55°C. | Yes | No | N/A |  |  |
| - Flammable liquids in use are only in small amounts required for working day in closed containers and are no more than 500 ml each. | Yes | No | N/A |  |  |
| - Chemical spill kit available and complete | Yes | No | N/A |  |  |
| - If HF is used are suitable emergency arrangements in place for accidental exposure (calcium gluconate gel, Hexafluorine etc.) | Yes | No | N/A |  |  |
| - If phenol is used, are suitable emergency arrangements in place for accidental exposure (e.g. PEG) | Yes | No | N/A |  |  |
| - All chemical waste has been fully labelled and packaged appropriately? | Yes | No | N/A |  |  |
| - All gas cylinders and regulators have been logged on an inventory; regulators are within their 5 year life-span and have been tested regularly? | Yes | No | N/A |  |  |
| - Compressed gas cylinders: | Yes | No | N/A |  |  |
| - Secured to wall or bench with straps or chains? | Yes | No | N/A |  |  |
| - Limited to an essential supply? | Yes | No | N/A |  |  |
| - Labelled with contents and hazard labels and capped if not in use? | Yes | No | N/A |  |  |
| - Not blocking access/means of escape | Yes | No | N/A |  |  |
| - Specific gases: | Yes | No | N/A |  |  |
| - Flammable gas cylinders are equipped with flame arresters? | Yes | No | N/A |  |  |
| - Flammable gases are separated from oxidisers? | Yes | No | N/A |  |  |
| - Oxygen cylinders have appropriate regulators? | Yes | No | N/A |  |  |
| - Toxic gases are being ventilated effectively? | Yes | No | N/A |  |  |
| - Has the building fire safety co-ordinator been notified of flammables stored/used to initiate a fire risk assessment review? | Yes | No | N/A |  |  |
| - Gas monitoring and alarm systems (e.g. oxygen monitor for dry ice /N2 (l)) installed, tested regularly and in functioning order? | Yes | No | N/A |  |  |
| - Fume cupboards: | Yes | No | N/A |  |  |
| - Clean, uncluttered and not used for storage? | Yes | No | N/A |  |  |
| - Sash not damaged, operable, opened to correct height and closed when not in use? | Yes | No | N/A |  |  |
| - Test results still valid (annual expiry date)? | Yes | No | N/A |  |  |
| - Flow indicators, alarms etc functioning? | Yes | No | N/A |  |  |
| - Other LEV is sufficient to reduce airborne contaminants to below OEL and test date is valid (annual expiry) | Yes | No | N/A |  |  |

## Biological safety inspection section (for containment levels 1 and 2)

| Requirement | Response |  |  | Actions and notes | Date actions completed |
| --- | --- | --- | --- | --- | --- |
|  | Yes | No | N/A |  |  |
| - All activities requiring CL-2 or involving GM material have been reviewed by and registered with BGMSC? | Yes | No | N/A |  |  |
| - All BGMSC registered activities have been reviewed within last 12 months? | Yes | No | N/A |  |  |
| - All workers have registered with the BGMSC? | Yes | No | N/A |  |  |
| - Laboratory(ies) registered in the BGMSC database? | Yes | No | N/A |  |  |
| - Biohazard signage at point(s) of entry with CL indicated? | Yes | No | N/A |  |  |
| - The laboratory door is closed when work is in progress (all CLs) and unauthorised entry is restricted (CL-2). | Yes | No | N/A |  |  |
| - If mechanically ventilated, the CL-2 lab is operating at a negative pressure relative to neighbouring environment when in use (not positively pressurised)? | Yes | No | N/A |  |  |
| - Work segregated appropriately (e.g. human tissue work, pathogens with low infectious dose etc.)? | Yes | No | N/A |  |  |
| - Microbiological safety cabinets (MSCs) available and used, by trained individuals, for containing infectious aerosols at CL-2? | Yes | No | N/A |  |  |
| - MSCs have been serviced within the last 12 months and, if used for worker protection, have also passed a KI discus test? | Yes | No | N/A |  |  |
| - Other LEV in use for biological containment (e.g. isolator, down-draft table etc.) has been approved, in writing, by BGMSC, is used by trained workers and has been serviced and tested within the last 12 months? | Yes | No | N/A |  |  |
| - MSCs have a valid and safe system of work for fumigation where required (by risk assessment)? | Yes | No | N/A |  |  |
| - Warning signs are placed at the point(s) of lab entry during MSC fumigation and the laboratory sealed? | Yes | No | N/A |  |  |
| - General use and risk assessment specified disinfectants available for waste and spillages; stock and working solutions are in-date? | Yes | No | N/A |  |  |
| - Emergency spillage procedures are in place; all workers are familiar with these? | Yes | No | N/A |  |  |

## Radiation safety inspection section

| Requirement | Response |  |  | Actions and notes | Date actions completed |
| --- | --- | --- | --- | --- | --- |
|  | Yes | No | N/A |  |  |
| ## A. Condition of the laboratory |  |  |  |  |  |
| - Are the appropriate signs present on the door and up-to-date? | Yes | No | N/A |  |  |
| - Is the floor of welded PVC ? Is it damaged? | Yes | No | N/A |  |  |
| - Are the walls in good repair? Is the paint sound? | Yes | No | N/A |  |  |
| - Are there any cracks where contamination could enter and be difficult to remove? (e.g. bench surface to wall, in fume cupboard and most especially around the radioactive sink) | Yes | No | N/A |  |  |
| - Does radioactive disposal sink have the correct type of trap (P or S trap). Bottle traps are not permitted. Is the sink clearly and correctly labelled? Is there visible evidence of staining or recent leaks? | Yes | No | N/A |  |  |
| - Is the radioactive fume cupboard correctly labelled? | Yes | No | N/A |  |  |
| - Is the housekeeping good? Is radioactive tape removed when no longer required? Is clearing and washing up designed in as part of each process or experiment? | Yes | No | N/A |  |  |
| - Are radioactive working areas clearly delineated? Are there clean areas for books? | Yes | No | N/A |  |  |
| - Where cleaning staff are expected to clean radioactive laboratories, is an efficient system in place to ensure that the lab is properly decontaminated before they may enter and that they are made aware both verbally and in writing of the limits of the work and duties required of them? This is necessary to ensure that they run no possible risk while undertaking these duties. | Yes | No | N/A |  |  |
| ## B. Working practices |  |  |  |  |  |
| - Do workers in the lab appear to have a clear grasp of the appropriate parts of the “Working with Ionising Radiations” Code of Practice? | Yes | No | N/A |  |  |
| ## C. Contamination risks |  |  |  |  |  |
| - Multiple containment: | Yes | No | N/A |  |  |
| - is working area of bench covered with “Benchkote”? | Yes | No | N/A |  |  |
| - is radioactive work taking place in lined trays? | Yes | No | N/A |  |  |
| - Monitoring: |  |  |  |  |  |
| - is an appropriate contamination monitor in use whenever radioactive work is in progress? NB Tritium cannot be directly monitored. | Yes | No | N/A |  |  |
| - are working areas monitored for contamination after use? | Yes | No | N/A |  |  |
| - are weekly contamination checks carried out and recorded in a book? | Yes | No | N/A |  |  |
| - are lab coats monitored each day for contamination? (The person inspecting should monitor cuffs, pockets and front hem of several lab coat using appropriate monitors - to check whether this daily monitoring has been effective - during the inspection). | Yes | No | N/A |  |  |
| ## D. Radiation risks |  |  |  |  |  |
| - Shielding: |  |  |  |  |  |
| - is appropriate shielding available? Is it being used? | Yes | No | N/A |  |  |
| - is it required behind the working area to protect other workers? If so is it in place and adequate. | Yes | No | N/A |  |  |
| - is the radiation level monitored to ensure that adequate shielding effect is being achieved? | Yes | No | N/A |  |  |
| ## E. Security of radioactive materials |  |  |  |  |  |
| - Are all radioisotopes stored in locked refrigerators, freezers or other storage areas or are other adequate and appropriate methods used? Is the door being locked when the room is not in use? This should be regularly checked. Ensure that all storage areas are appropriately marked with radioactive signs. | Yes | No | N/A |  |  |
| - In each storage area, are the isotope containers so organised that it is easy to see if any are missing? | Yes | No | N/A |  |  |
| - Check the adequacy of the stock records against each container. Stock records should be updated each time material is taken from stock, at the time it is removed (deferred entries get forgotten). | Yes | No | N/A |  |  |
| - Are regular stock-takes and stock checks carried out? | Yes | No | N/A |  |  |
| - Have all gifts and other acquisitions of radioactive material been properly documented and properly reported to the Health and Safety Office? | Yes | No | N/A |  |  |
| ## F. Waste disposal |  |  |  |  |  |
| - Are proper records being kept at each disposal point (sink, bin, solvent container or bucket)? | Yes | No | N/A |  |  |
| - Is aqueous waste being reported correctly at the end of each month? | Yes | No | N/A |  |  |
| - Is accumulation of radioactive waste kept within the permitted timescale? Check dustbin waste especially. | Yes | No | N/A |  |  |
| - Where there is a radioactive fume-cupboard, do the workers know the details of what the maximum radioactivity disposal permitted from it is? | Yes | No | N/A |  |  |
| - Systems of totalling the activity of radioisotopes in each disposal should be checked to ensure that no errors or omissions are being made. | Yes | No | N/A |  |  |
| ## G. Systems of work |  |  |  |  |  |
| - Are written systems of work in force for all activities taking place in Controlled Areas. | Yes | No | N/A |  |  |
| - Do risk assessments and systems of work assess the potential dose to workers and minimise this as far as is reasonably practicable? | Yes | No | N/A |  |  |